Standardization of a NaOH Solution with Potassium Hydrogen Phthlate (KHP)

Name:________________________________________________________________ Period:_____

##### Prelab

1. A 0.8234-g sample of "KHP" required 38.76 mL of NaOH for titration to the phenolphthalein endpoint.  What is the exact molarity of the NaOH solution?

2. A 25.00-mL aliquot of an unstandardized HCl solution is titrated with the previously standardized NaOH solution from #1 above.  If 32.55 mL of NaOH titrant is required to reach the endpoint, what is the exact molarity of the HCl solution?

3. How accurately can you estimate the buret reading on a 50-mL buret that has calibration markings every 0.1mL? (Circle the correct answer)

a) 1 mL 	b) 0.1 mL 	c) 0.01 mL 	d) 0.001 mL

4. Why should the sample size be such that not more than 50 mL of titrant is required to reach the endpoint?

5. What mass (in grams) of "KHP" should be used for the standardization of a NaOH solution that is approximately 0.14 M NaOH if the volume of NaOH titrant used is to be about 45 mL?  (Approximate calculation - 2 sig. figs is adequate)

Standardization of a NaOH Solution with Potassium Hydrogen Phthalate (KHP)

Objective

You will determine the concentration (standardize) of an unknown solution of NaOH using the primary standard, potassium hydrogen phthalate.

Introduction

Sodium hydroxide is hygroscopic and absorbs water from the air when you place it on the balance for massing. This water will prevent you from being able to find the exact mass of sodium hydroxide. In order to determine the exact concentration of a sodium hydroxide solution you must standardize it by titrating with a solid acid that is not hygroscopic. Potassium hydrogen phthalate, KHC8H4O4 (abbreviated KHP), is a non-hygroscopic, crystalline, solid that behaves as a monoprotic acid. It is water soluble and available in high purity. Because of its high purity, you can determine the number of moles of KHP directly from its mass and it is referred to as a primary standard. You will use this primary standard to determine the concentration of a sodium hydroxide solution. The structure of KHP is shown below:

When KHP and a base a reacted, a neutralization reaction occurs that is represented by the following equation:

KHC8H4O4 (aq)  + NaOH(aq)  KNaC8H4O4 (aq)  +  H2O(l)

The net ionic equation is:

HC8H4O4-1(aq)  + OH-(aq)  C8H4O4-2 (aq)  +  H2O(l)

The reaction can be considered to proceed completely to the right. If exactly equivalent amounts of acid or base are used so that neither reactant is present in excess the solution is said to be at the equivalence point. If only monoprotic acids and bases are used (those that furnish or react with one H+ per molecule), then at the equivalence point the number of moles of acid equal the number of moles of base (moles acid = moles base).

An acid-base titration is a procedure used to compare the amount (moles) of acid in one sample with the amount (moles) of base in another.  In this laboratory exercise you will carry out such a titration to standardize (determine the exact concentration of) a NaOH solution by measuring accurately how many milliliters of it are required to exactly neutralize a known amount of acid.  A buret filled with the titrant (NaOH solution) is used to measure the volume of NaOH solution added to the known amount of acid in a flask.  An indicator is added to signal the endpoint has been reached. The indicator is a weak acid (or base) itself and reacts with some of the titrant to produce the color change The endpoint occurs when all the acid has been neutralized and the solution composition changes suddenly from excess acid to excess base. When the endpoint is reached the addition of titrant should be stopped.  Since the indicator reacts with some of the titrant and the indicator may not change at the exact pH of the equivalence point, a small error in introduced in the titration. This is minimized by using a small amount of a dilute solution of the indicator and by choosing an indicator that changes color close to the equivalence point pH. Most indicators are intensely colored so a dilute solution is sufficient for the titration.

When acid is added to the indicator the equilibrium shifts to the left.  Because the In-1 and Hin have different colors we can see this change. When a base is added to an indicator the hydroxide ions reacts with the molecules of indicator and form indicator ions. The reaction shifts to the right.

OH-1(aq)  +   HIn(aq)       In-1(aq)    + H2O(l)

Since different indicators have different Ka values they changes colors at different [H+1], and they can be used to indicate the hydrogen-ion concentration in a solution.  A single indicator will tell us only whether the [H+] is greater than, less than, or about the same as its Ka value.  You select the indicator according to the pH where you would like to see a color change.  For example, phenolphthalein has a pKa of 9.2.  We would expect to see a color change in a solution having a pH of about 9. The two forms of phenolphthalein are shown below.

Procedure

1. Mass accurately (to within 0.0001 g) between 0.7 and 0.9 g of KHP into a tared plastic weighing dish. Note: If the mass of KHP taken exceeds 0.9 g, the titration may require more than 50 mL of titrant, making it necessary to refill the buret and thereby introducing two more buret reading errors.

2. Use a plastic wash bottle with distilled water to rinse the sample from the weighing boat and transfer it quantitatively to the clean 250 mL flask.

3. Add enough water to bring the total volume to about 50 to 75 mL (Remember - we are concerned only with the amount, in moles, of acid; the exact volume is not important). Swirl the flask and rinse down the sides of the flask to dissolve the sample.

4.Add 4 or 5 drops of phenolphthalein indicator to the flask.

5. Rinse the buret 2 or 3 times with small portions of NaOH solution before filling it.  Make certain that all air bubbles have been flushed from the tip before taking the initial volume reading (the last lab class may have left the burets filled making the previous step unnecessary, however you should check for bubbles and a full tip).  When reading the buret, use a buret reading card, avoid parallax (ask your teacher to demonstrate if you don’t know this concept), and estimate each reading to the closest 0.01 mL.

6. Titrate the sample of KHP until the faint, pink endpoint is reached.  Add the titrant rapidly at first, but slowly later as the endpoint is approached as indicated by the less rapid disappearance of the pink color as the added titrant mixes with the solution in the flask.  Rinse down the sides of the flask to make sure that any splattered NaOH get a chance to react. Add the final increments dropwise, or even in half-drops washed from the buret tip with a few drops of water.  The endpoint has been reached when a faint pink color persists throughout the mixed solution for about 30 seconds. Dissolving CO2 will produce carbonic acid, which will neutralize the excess NaOH and turn the phenolphthalein colorless if the titration too far overrun.  Exercise care to avoid overshooting the endpoint (intense pinkish-red color).  If you do accidentally overshoot the endpoint, weigh a fresh sample of KHP and repeat the titration.

7. Titrate two (or three, if time permits) separate weighed samples of KHP.

8. Calculate the moles of KHP, NaOH, and the molarity of the NaOH. Average the molarities from the different trials and calculate the percent error.

Standardization of a NaOH Solution with Potassium Hydrogen Phthalate (KHP)

# Name:_____________________________________________________ Period:___________

Lab Partner:________________________________________________ Course:___________

Data Table

|  | Trial 1 | Trial 2 | Trial 3 |
| --- | --- | --- | --- |
| Mass of KHP (g) |  |  |  |
| Initial buret reading (mL) |  |  |  |
| Final buret reading (mL) |  |  |  |
| Volume of NaOH used (mL) |  |  |  |
| Volume of NaOH used (L) |  |  |  |
| Moles of KHP |  |  |  |
| Moles of NaOH |  |  |  |
| Molarity of NaOH |  |  |  |
| Average Molarity of NaOH |  |  |  |
| Accepted Molarity of NaOH |  |  |  |
| Percent Error |  |  |  |

Sample Calculation:

Discuss any sources of error that you encountered in the experiment.