Volumetric Analysis of an Unknown Acetic Acid Solution

## Name:__________________________________________________

# Prelab

1. A student carried out a titration of 25.00 mL of an unknown solution of acetic acid. The acetic acid solution required 39.50 mL of 0.500 M NaOH solution to reach the first lasting pink color of acid-base indicator, phenolphthalein. The acid-base neutralization reaction is:

CH3COOH(aq)  +  NaOH(aq)  CH3COONa (aq) + H2O(l)

Acetic acid

a. Calculate the molarity (M) of the acetic acid solution.

Volumetric Analysis of an Unknown Acetic Acid Solution

Objective: To experimentally determine the molar concentration of an unknown solution of acetic acid.

Introduction: The Food and Drug Administration as well as other agencies and laboratories are constantly testing and analyzing consumer products and samples of unknown composition obtained from many sources. The methods and equipment now used by testing laboratories are, of course, more precise and sophisticated than those available in most school laboratories. Until recently, however, the method and apparatus in this experiment were used in the majority of analytical laboratories. In some commercial laboratories, they are still used.

In this experiment you will use a sodium hydroxide solution of known molarity, a standardized solution, to determine the molarity of unknown acetic acid solution. The equation for the reaction is:

CH3COOH(aq)   +   NaOH(aq)      CH3COONa (aq)   +   H2O(l)

You will measure a specific volume of the acetic acid solution into an Erlenmeyer flask and add phenolphthalein indicator solution. You will use a buret to slowly add the NaOH solution to the acetic acid until the solution just barely turns pink. At this point you have added just enough moles of NaOH to react with the moles of acetic acid in the unknown. Since you know the volume of NaOH solution delivered by the buret and the molarity of the NaOH, you can calculate the moles of NaOH used in the reaction. You can use the balanced equation to calculate the moles of acetic acid that were in acetic acid solution. You know the volume of the acetic acid solution used, so you can calculate the molarity of the acetic acid.

One method of determining how close is your experimental value to the true value is to calculate the percent error.  This calculation is shown below.

Percent Error=Experimental Value−True ValueTrue Valuex100

The percent error may be positive or negative. If it is positive, it indicates that your experimental value was higher than the true value. If it is negative, it indicates that your experimental value was lower than the true value.

Procedure:

- Obtain a 250-mL Erlenmeyer flask.

- Use a graduated cylinder to carefully add 25.0mL of the acetic acid solution into the flask.

- Add 3 drops of phenolphthalein indicator, being careful not to touch the dropper to the walls of the flask. Add the stir bar.

- Pour some sodium hydroxide into a 100mL beaker. Rinse the buret with about 5mL of the NaOH solution (unless your facilitator has it set up for you already). Fill the buret above the zero line and run solution through the tip into a waste beaker to remove any air trapped in the tip.

- Record the initial buret volume reading to nearest 0.01mL. Use a buret reading card (a white note card with a piece of colored tape or an area colored with a marker) to help you see the bottom of the meniscus.

- Place the Erlenmeyer flask on the magnetic stirrer. Adjust the magnetic stirrer to provide constant mixing without creating a vortex. If you do not have a magnetic stirrer, the flask should be swirled continuously as you add the NaOH solution.

- Slowly add the NaOH solution to the flask until the pink color begins to linger or disappear more slowly. At this time you will need to slow down the addition eventually to a drop wise rate.

- Rinse the walls of the flask with distilled water as you approach the endpoint to ensure all the acetic acid and NaOH have come together. The stirring may have splattered unreacted NaOH solution on the walls of the flask.

- The endpoint has been reached when the faint pink color persists for at least 30 seconds.

- Record the final buret volume reading to nearest 0.01mL. Use the buret reading card.

- Repeat the titration two more times, rinsing the flask with tap water between each trial. The reaction mixture may be rinsed down the drain. Dry the outside of the flask before measuring its initial mass.

- At the end of the experiment, drain the NaOH solution from the buret into the waste beaker. The NaOH solution may be rinsed down the drain with plenty of water. Thoroughly rinse all the glassware including the buret with warm tap water.

- Complete the calculations for the molarity of acetic acid solution.

Volumetric Analysis of an Unknown Acetic Acid Solution

Name:___________________________________ Lab Partner:__________________

Data Table

|  | Trial 1 | Trial 2 | Trial 3 |
| --- | --- | --- | --- |
| Volume of Acetic Acid Sample | mL | mL | mL |
| Volume of Acetic Acid Sample | L | L | L |
| Final Buret reading | mL | mL | mL |
| Initial Buret Reading | mL | mL | mL |
| Volume NaOH used | mL | mL | mL |
| Volume NaOH used | L | L | L |
| Molarity of NaOH | M |  |  |
| Moles NaOH | mol | mol | mol |
| Moles Acetic Acid (CH3COOH) | mol | mol | mol |
| Molarity of Acetic Acid solution | M | M | M |
| Average Molarity of Acetic Acid | M |  |  |
| True value of the Molarity of Acetic Acid | M |  |  |
| Relative Percent Error | % | % | % |
| Average Relative % Error | % |  |  |

1. Show your calculations for the molarity of the acetic acid solution.

2. If your calculated molarity was high, discuss what specific sources of error may have caused

your percent to be high.

3.If your calculated molarity was low, discuss what specific sources of error may have caused

your percent to be low.